## June 18 - May 19
Table #1 | % usage during PJM On-Peak period |  |  |  | On-Peak periods defined as the 16 hr PJM Trading period, adj for NERC holidays | [8 empty] | % usage during Off-Peak period
(data rounded to nearest %)
|  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC |  |  |  |  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC
| January | 46.93% | 46.88% | 51.96% | 47.29% | 50.22% | 46.31% | 31.13% | 43.42% |  |  |  |  | 53.07% | 53.12% | 48.04% | 52.71% | 49.78% | 53.69% | 68.87% | 56.58%
| February | 49.55% | 49.56% | 54.79% | 48.9% | 55.19% | 51.35% | 32.64% | 48.85% |  |  |  |  | 50.45% | 50.44% | 45.21% | 51.1% | 44.81% | 48.65% | 67.36% | 51.15%
| March | 53.88% | 53.92% | 57.61% | 53.15% | 60.71% | 55.62% | 30.91% | 52.62% |  |  |  |  | 46.12% | 46.08% | 42.39% | 46.85% | 39.29% | 44.38% | 69.09% | 47.38%
| April | 51.06% | 51.05% | 56.41% | 50.88% | 57.43% | 53.17% | 24.07% | 49.58% |  |  |  |  | 48.94% | 48.95% | 43.59% | 49.12% | 42.57% | 46.83% | 75.93% | 50.42%
| May | 49.76% | 50.07% | 53.35% | 51.44% | 55.25% | 51.49% | 19.86% | 47.98% |  |  |  |  | 50.24% | 49.93% | 46.65% | 48.56% | 44.75% | 48.51% | 80.14% | 52.02%
| June | 56.57% | 56.65% | 58.71% | 56.14% | 59.73% | 55.83% | 20.01% | 51.95% |  |  |  |  | 43.43% | 43.35% | 41.29% | 43.86% | 40.27% | 44.17% | 79.99% | 48.05%
| July | 52.01% | 51.96% | 54.27% | 50.45% | 53.2% | 49.57% | 17.58% | 45.7% |  |  |  |  | 47.99% | 48.04% | 45.73% | 49.55% | 46.8% | 50.43% | 82.42% | 54.3%
| August | 56.2% | 56.15% | 58.77% | 55.78% | 59.1% | 55.88% | 24.06% | 52.55% |  |  |  |  | 43.8% | 43.85% | 41.23% | 44.22% | 40.9% | 44.12% | 75.94% | 47.45%
| September | 53.11% | 53.23% | 58.92% | 53.25% | 57.22% | 53.8% | 28.1% | 49.58% |  |  |  |  | 46.89% | 46.77% | 41.08% | 46.75% | 42.78% | 46.2% | 71.9% | 50.42%
| October | 50.7% | 50.72% | 55.45% | 50.75% | 56.13% | 52.07% | 31.04% | 47.99% |  |  |  |  | 49.3% | 49.28% | 44.55% | 49.25% | 43.87% | 47.93% | 68.96% | 52.01%
| November | 48.16% | 47.88% | 56.57% | 53.45% | 55.77% | 51.04% | 33.11% | 47.15% |  |  |  |  | 51.84% | 52.12% | 43.43% | 46.55% | 44.23% | 48.96% | 66.89% | 52.85%
| December | 48.94% | 48.86% | 53.66% | 52.18% | 55.3% | 51.42% | 35.18% | 47.99% |  |  |  |  | 51.06% | 51.14% | 46.34% | 47.82% | 44.7% | 48.58% | 64.82% | 52.01%
Table #2 | % Usage During ACECO On-Peak Billing Period
|  |  | RS TOU - BGS | [11 empty] | RS TOU - BGS
| January |  | 39.03% | [11 empty] | 60.97%
| February |  | 39.78% | [11 empty] | 60.22%
| March |  | 40.17% | [11 empty] | 59.83%
| April |  | 37.91% | [11 empty] | 62.09%
| May |  | 40.45% | [11 empty] | 59.55%
| June |  | 44.61% | [11 empty] | 55.39%
| July |  | 42.43% | [11 empty] | 57.57%
| August |  | 44.14% | [11 empty] | 55.86%
| September |  | 42.47% | [11 empty] | 57.53%
| October |  | 38.12% | [11 empty] | 61.88%
| November |  | 40.51% | [11 empty] | 59.49%
| December |  | 38.34% | [11 empty] | 61.66%
Table #3 | Class Usage @ customer | [12 empty] | Usage by season
calendar month sales forecasted for period
| in MWh | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC | Total |  |  |  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC
| 2019-01-01 | 352038.0293 | 302.1218 | 58272.4969 | 851.3381 | 68889.0849 | 3639.6304 | 4385.0244 | 639.8259 | 489017.5518 |  |  | winter MWh = | 2199874.438 | 1816.0416 | 447317.1121 | 6252.0579 | 524434.0695 | 30770.9054 | 31492.9714 | 4922.6248 | 3246880.2208
| 2019-02-01 | 314068.4553 | 276.6277 | 56259.1339 | 906.9909 | 62973.812 | 4116.8317 | 3954.1033 | 618.1201 | 443174.0748 |  |  | on peak |  | 903.8766
| 2019-03-01 | 287829.1555 | 245.8728 | 55347.7045 | 808.2234 | 68595.7412 | 4269.4949 | 3806.6589 | 606.069 | 421508.9201 |  |  | off peak |  | 912.165
| 2019-04-01 | 242992.9077 | 203.7702 | 54135.7188 | 816.9979 | 62544.7459 | 3916.1001 | 3416.0117 | 593.4298 | 368619.6821 |  |  | summer MWh = | 1588918.6331 | 1142.8608 | 287575.7013 | 2954.1486 | 334883.1839 | 19206.2141 | 15241.5864 | 3181.6551 | 2253103.9834
| 2019-05-01 | 216903.8147 | 171.8215 | 53878.6587 | 960.2108 | 66286.1545 | 2916.0579 | 3231.3744 | 590.3317 | 344938.4243 |  |  | on peak |  | 621.6077
| 2018-06-01 | 287865.5679 | 210.1454 | 64104.8163 | 699.5377 | 74962.3052 | 4545.8632 | 3345.0667 | 704.9454 | 436438.2477 |  |  | off peak |  | 521.253 | [6 empty] | 5499984.2042
| 2018-07-01 | 419684.1676 | 301.4047 | 74815.8386 | 756.7518 | 87130.0646 | 5559.7148 | 3727.0752 | 826.704 | 592801.7213
| 2018-08-01 | 475863.6586 | 339.8913 | 76526.3873 | 761.2365 | 89911.7037 | 4325.9452 | 4026.5705 | 847.5352 | 652602.9282 |  |  | Block 1 | 926032.5274
| 2018-09-01 | 405505.2389 | 291.4194 | 72128.6591 | 736.6227 | 82879.1104 | 4774.691 | 4142.874 | 802.4706 | 571261.0863 |  |  | Block 2 | 662886.1057
| 2018-10-01 | 260081.2924 | 188.4253 | 60402.234 | 660.4312 | 69437.3092 | 3949.4211 | 4110.373 | 672.067 | 399501.5533 |  |  |  | 1588918.6331
| 2018-11-01 | 238931.0434 | 191.0201 | 53634.121 | 630.4191 | 60245.2149 | 3799.6217 | 4274.8138 | 593.7879 | 362300.0419
| 2018-12-01 | 287029.7397 | 236.382 | 55387.0443 | 617.4465 | 65462.0069 | 4163.7476 | 4314.612 | 608.9934 | 417819.9725 |  |  |  |  | total supplier energy | 3492809.497
| Total | 3788793.0711 | 2958.9023 | 734892.8134 | 9206.2066 | 859317.2534 | 49977.1195 | 46734.5578 | 8104.28 | 5499984.2042 | [5 empty] | 2423860.8431
5916670.3401
Table #4 | Forwards Prices - Energy Only @ bulk system |  |  |  |  | Table #5 | Zone-Hub Basis Differential |  | 'Based on 3 Year Average
| ($/MWH) |  | Off/On Pk
|  | On-Peak | LMP ratio | Off-Peak |  |  | On-Peak | Off-Peak
| 2019-01-01 | 50.45 | 0.73177 | 36.92 |  |  | 95.86% | 95.09%
| 2019-02-01 | 47.55 | 0.73177 | 34.8 |  |  | 95.86% | 95.09%
| 2019-03-01 | 35.13 | 0.73177 | 25.71 |  |  | 95.86% | 95.09%
| 2019-04-01 | 30.38 | 0.73177 | 22.23 |  |  | 95.86% | 95.09%
| 2019-05-01 | 31.55 | 0.73177 | 23.09 |  |  | 95.86% | 95.09%
| 2018-06-01 | 33.55 | 0.63278 | 21.23 |  |  | 96.13% | 88.92%
| 2018-07-01 | 41.74 | 0.63278 | 26.41 |  |  | 96.13% | 88.92%
| 2018-08-01 | 37.88 | 0.63278 | 23.97 |  |  | 96.13% | 88.92%
| 2018-09-01 | 32.12 | 0.63278 | 20.32 |  |  | 96.13% | 88.92%
| 2018-10-01 | 31 | 0.73177 | 22.68 |  |  | 95.86% | 95.09%
| 2018-11-01 | 30.88 | 0.73177 | 22.6 |  |  | 95.86% | 95.09%
| 2018-12-01 | 33.9 | 0.73177 | 24.81 |  |  | 95.86% | 95.09%
Table #6 | Losses | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC
| Delivery Loss Factor | 6.672% | 6.672% | 6.672% | 4.164% | 6.672% | 4.164% | 6.672% | 6.672%
| Loss Factors + EHV Losses = | 7.069% | 7.069% | 7.069% | 4.571% | 7.069% | 4.571% | 7.069% | 7.069%
| Expansion Factor = | 1.0761 | 1.0761 | 1.0761 | 1.0479 | 1.0761 | 1.0479 | 1.0761 | 1.0761
| Marginal Loss Factor (w/ EHV Losses) = | 1.801% | 1.801% | 1.801% | 1.801% | 1.801% | 1.801% | 1.801% | 1.801%
| Loss Factor w/o Marginal Loss = | 5.364% | 5.364% | 5.364% | 2.821% | 5.364% | 2.821% | 5.364% | 5.364%
| Expansion Factor w/o Marginal Loss = | 1.0567 | 1.0567 | 1.0567 | 1.029 | 1.0567 | 1.029 | 1.0567 | 1.0567
Table #7 | Summary of Average BGS Energy Only Unit Costs @ customer - PJM Time Periods
based on Forwards @ PJM West - corrected for congestion & losses
in $/MWh
|  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC
| Summer - all hrs | 30.7248 | 30.7161 | 31.073 | 29.6386 | 31.0252 | 29.6854 | 25.4696 | 29.8621
| On Peak | 37.8644 | 37.8465 | 37.6182 | 36.5858 | 37.6304 | 36.6756 | 37.0687 | 37.6086
| Off Peak | 22.2163 | 22.2129 | 22.1726 | 21.527 | 22.1832 | 21.6348 | 22.0663 | 22.1499
| Winter - all hrs | 33.2172 | 33.4782 | 32.9458 | 32.0048 | 32.9784 | 31.7221 | 30.6021 | 32.2319
| On Peak | 38.3839 | 38.6833 | 37.4728 | 36.7785 | 37.3349 | 36.3895 | 38.1438 | 37.4159
| Off Peak | 28.0938 | 28.3204 | 27.4232 | 27.0645 | 27.4923 | 26.735 | 27.3418 | 27.4153
| Annual | 32.172 | 32.4113 | 32.213 | 31.2455 | 32.2172 | 30.9394 | 28.9283 | 31.3015
| System Average Cost @ customer - (limited to classes shown above) = |  |  |  |  | 32.1431
Table #8 | Summary of Average BGS Energy Only Costs @ customer - PJM Time Periods
based on Forwards prices corrected for congestion & losses
in $1000
|  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC
| Summer - all hrs | 48819.218 | 35.1042 | 8935.8337 | 87.5569 | 10389.8263 | 570.1439 | 388.1972 | 95.0108
| PJM on pk | 32713.286 | 23.5257 | 6233.8155 | 58.2188 | 7213.3155 | 377.0307 | 128.1688 | 59.6959
| PJM off pk | 16105.932 | 11.5785 | 2702.0182 | 29.3381 | 3176.5108 | 193.1132 | 260.0284 | 35.3149
| Winter - all hrs | 73073.7324 | 60.7978 | 14737.2373 | 200.096 | 17295.0009 | 976.1162 | 963.7519 | 158.6654
| PJM on pk | 42042.6131 | 34.9649 | 9211.519 | 116.9424 | 10913.4124 | 578.3997 | 362.5701 | 88.7086
| PJM off pk | 31031.1193 | 25.8329 | 5525.7183 | 83.1536 | 6381.5886 | 397.7165 | 601.1818 | 69.9569
| Annual | 121892.9504 | 95.9019 | 23673.071 | 287.6529 | 27684.8272 | 1546.2601 | 1351.9491 | 253.6762
| System Total | 176786.2889
Table #9 | Summary of Average BGS Energy Only Unit Costs @ customer - ACECO Time Periods | [13 empty] | MWhs in ACECO time periods | MWhs in PJM time periods | Difference in MWhs | Check on total $ recovered
| based on Forwards prices corrected for congestion & losses - ACECO billing time periods | [15 empty] | (PJM - ACECO) | ACECO time periods | PJM time periods (Table #8)
in $/MWh
|  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC | [5 empty] | RS TOU - BGS | RS TOU - BGS | RS TOU - BGS | RS TOU - BGS | RS TOU - BGS
| Summer - all hrs | 30.7248 | 30.7161 | 31.073 | 29.6386 | 31.0252 | 29.6854 | 25.4696 | 29.8621
| ACECO On pk |  | 39.8376 | [11 empty] | 495.4165 | 621.6077 | 126.1913 | 19.7362
| ACECO Off pk |  | 23.7364 | [11 empty] | 647.4443 | 521.253 | -126.1913 | 15.368
[15 empty] | 1142.8608 | 1142.8608 |  | 35.1042 | 35.1042
| Winter - all hrs | 33.2172 | 33.4782 | 32.9458 | 32.0048 | 32.9784 | 31.7221 | 30.6021 | 32.2319
| ACECO On pk |  | 40.0673 | [11 empty] | 713.3362 | 903.8766 | 190.5404 | 28.5814
| ACECO Off pk |  | 29.2157 | [11 empty] | 1102.7054 | 912.165 | -190.5404 | 32.2163
[15 empty] | 1816.0416 | 1816.0416 |  | 60.7978 | 60.7978
| Annual Average | 32.172 | 32.4113 | 32.213 | 31.2455 | 32.2172 | 30.9394 | 28.9283 | 31.3015
| System Average | 32.1431
Table #10 | Generation & Transmission Obligations and Costs and Other Adjustments
obligations - values effective June 2017; costs are market estimates
| in MW | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC | Total
| Gen Load - MW | 1231.8794 | 0.61488 | 231.0563 | 4.0078 | 187.5175 | 8.0073 | 0 | 1.0492 | 1664.1324
| Gen Obl - MW | 1360.6972 | 0.67918 | 255.2179 | 4.4269 | 207.1262 | 8.8446 | 0 | 1.1589 | 1838.151
| Trans Obl - MW | 1430.791 | 0.71787 | 231.1043 | 3.8191 | 188.9474 | 7.9307 | 0 | 1.0727 | 1864.383
# of Months and Days used in this analysis
|  |  |  | # of summer days = | 122 |  | # of summer months = | 4
|  |  |  | # of winter days = | 243 |  | # of winter months = | 8
[7 empty] | total # months = | 12
| Transmission Cost |  |  | 48426.8596 | per MW-yr
| Generation Capacity Cost |  | Base Capacity | Incremental RPM Capacity | Total Capacity
|  | Summer | 168.3913 | 0 | 168.3913 | $/MW/day |  | Summer Total | 37762482.0778
|  | Winter | 168.3913 | 0 | 168.3913 | $/MW/day |  | Winter Total | 75215435.6139
[8 empty] | Annual Total | 112977917.6916
Incremental Auction RPM Net Zonal Load Price
Base Residual Auction
| Price Difference |  | 0 | Used in calculation of Incremental RPM Capacity above - weighted
Residential Inversion Determination
---------- Rate RS ----------
|  | Charges |  |  | % usage |  | SUM 'First 750 KWh |  | 1190352866.2705
| Block 1 (0-750 kWh/m) | 5.4802 |  |  | 58.28% |  | SUM '> 750 KWh |  | 852095744.5334
| Block 2 (>750 kWh/m) | 6.3454 |  |  | 41.72%
| Calculated inversion = | 0.8652 |  |  |  |  | WIN |  | 2106837177.1961
4149285788
Table #11 | Ancillary Services & Renewable Power Cost (forecasted overall annual average)
| Ancillary Services |  |  | 2
| Renewable Power Cost |  |  | 8.4
| Total Ancillary Services & Renewable Power Costs |  |  | 10.4
Table #12 | Summary of Obligation Costs expressed as $/MWh @ customer
|  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC | Total
| Transmission Obl - yr round | 18.2878 | 28.7604 | 15.229 | 20.0893 | 10.6481 | 7.6847 | 0 | 6.4099 | 16.4157
Generation Obl -
| per annual MWh | 22.0736 | 34.535 | 21.3452 | 29.5553 | 14.8147 | 10.8773 | 0 | 8.7895
| recovery per summer MWh | 17.593 | 28.164 | 18.2322 | 30.7858 | 12.7064 | 9.4605 | 0 | 7.4833
| recovery per winter MWh | 25.3098 | 38.9598 | 23.3465 | 28.9738 | 16.1611 | 11.7615 | 0 | 9.6337
Table #13 | Summary of BGS Unit Costs @ customer
Includes energy, G&T obligations, Ancillary Services, and Renewable Power Costs
in $/MWh
|  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC
| Summer - all hrs | 77.7967 | 98.8315 | 75.7252 | 91.4119 | 65.5708 | 57.7289 | 36.6607 | 54.9462
| ACECO On-Peak |  | 107.9529
| ACECO Off-Peak |  | 34.9275
| Block 1 (0-750 kWh/m) | 74.1871
| Block 2 (>750 kWh/m) | 82.8391
| Winter - all hrs | 88.0059 | 112.3894 | 82.7123 | 91.9661 | 70.9787 | 62.0665 | 41.7932 | 59.4665
| ACECO On-Peak |  | 118.9785
| ACECO Off-Peak |  | 40.4068
| Annual | 83.7244 | 69.4594 | 79.9781 | 91.7883 | 68.8712 | 60.3995 | 40.1193 | 57.6919
| Grand Total Cost in $1000 = | 441583.7939
| All In Average cost for rates shown (@ customer) = |  |  |  | 80.2882
| All In Average costs for rates shown (@ bulk system) = |  |  |  | 76.0028
Table #14 | Ratio of BGS Unit Costs @ customer to All In Average Cost @ bulk system (rounded to 3 decimal places)
Includes energy, G&T obligations, Ancillary Services, and Renewable Power Costs - unadjusted for billing vs. PJM time period differences
|  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC
| Summer - all hrs |  | 1.3 | 0.996 | 1.203 | 0.863 | 0.76 | 0.482 | 0.723
| On-Peak |  | 1.42
| Off-Peak |  | 0.46
| All usage Multiplier | 1.024
| Constant | -3.6096 |  | for Block 1 (0-750 kWh/m) usage
| Constant | 5.0424 |  | for Block 2 (>750 kWh/m) usage
| Winter - all hrs | 1.158 | 1.479 | 1.088 | 1.21 | 0.934 | 0.817 | 0.55 | 0.782
| On-Peak |  | 1.565
| Off-Peak |  | 0.532
| Annual | 1.102 | 0.914 | 1.052 | 1.208 | 0.906 | 0.795 | 0.528 | 0.759
Table #15 | Summary of BGS Unit Costs Less Transmission @ customer
Includes energy, Generation capacity obligations, Ancillary Services, and Renewable Power Costs - unadjusted for billing vs. PJM time period differences. Transmission billed at retail tariff level.
in $/MWh
|  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC
| Summer - all hrs | 59.5088 | 70.0711 | 60.4962 | 71.3226 | 54.9227 | 50.0441 | 36.6607 | 48.5364
| On-Peak |  | 79.1926
| Off-Peak |  | 34.9275
| Block 1 (0-750 kWh/m) | 55.8993
| Block 2 (>750 kWh/m) | 64.5513
| Winter - all hrs | 69.7181 | 83.629 | 67.4834 | 71.8769 | 60.3305 | 54.3818 | 41.7932 | 53.0566
| On-Peak |  | 90.2181
| Off-Peak |  | 40.4068
| Annual | 65.4366 | 57.7104 | 64.7492 | 71.699 | 58.223 | 52.7148 | 40.1193 | 51.282
| Grand Total Cost in $1000 = | 351297.5781
| All In (Less Transmission) Average cost for rates shown (@ customer) = |  |  |  |  | 63.8725
| All In (Less Transmission) Average costs for rates shown (@ bulk system) = |  |  |  |  | 60.4633
Table #16 | Ratio of BGS Unit Costs @ customer to All In Average Cost Less Transmission @ bulk system (rounded to 3 decimal places)
Includes energy, Generation capacity obligations, Ancillary Services, and Renewable Power Costs - unadjusted for billing vs. PJM time period differences.
Transmission billed at retail tariff level.
|  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC
| Summer - all hrs |  | 1.159 | 1.001 | 1.18 | 0.908 | 0.828 | 0.606 | 0.803
| On-Peak |  | 1.31
| Off-Peak |  | 0.578
| All usage Multiplier | 0.984
| Constant | -3.6096 |  | for Block 1 (0-750 kWh/m) usage
| Constant | 5.0424 |  | for Block 2 (>750 kWh/m) usage
| Winter - all hrs | 1.153 | 1.383 | 1.116 | 1.189 | 0.998 | 0.899 | 0.691 | 0.878
| On-Peak |  | 1.492
| Off-Peak |  | 0.668
| Annual | 1.082 | 0.954 | 1.071 | 1.186 | 0.963 | 0.872 | 0.664 | 0.848
Table #17 | Summary of Total BGS Costs by Season
|  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC
Total Costs by Rate - in $1000
| Summer | 123612.5541 | 112.9506 | 21776.7198 | 270.0443 | 21958.5548 | 1108.7527 | 558.7668 | 174.8199
| Winter | 193602.0298 | 204.1038 | 36998.6474 | 574.9774 | 37223.6374 | 1909.8426 | 1316.1919 | 292.7312
| Total | 317214.584 | 317.0544 | 58775.3672 | 845.0217 | 59182.1921 | 3018.5952 | 1874.9587 | 467.5512
% of Annual Total $ by Rate
| Summer | 38.97% | 35.62% | 37.05% | 31.96% | 37.1% | 36.73% | 29.8% | 37.39%
| Winter | 61.03% | 64.38% | 62.95% | 68.04% | 62.9% | 63.27% | 70.2% | 62.61%
Total Costs - in $1000
| Summer | 169573.163
| Winter | 272122.1616
| Total | 441695.3246
| % of Annual Total $ |  | If total $ were split on a per MWh basis (on bulk system MWhs):
| Summer | 38.39% |  | 71.2432 | per MWh @ bulk system |  |  | Ratio to All-In Cost |  | >>> | Summer | 1
| Winter | 61.61% |  | 79.3383 | per MWh @ bulk system |  |  | (rounded to 4 decimal places) |  |  | Winter | 1
Assumptions:
| Gen Cost = | 168.3913 |  | per MW-day | summer
| = | 168.3913 |  | per MW-day | winter
| Trans cost = | 48426.8596 |  | per MW-yr
| Ancillary Services = | 2 |  | per MWH
| Renewable Power Cost = | 8.4 |  | per MWH
| Energy Prices = | Quotes for the period June 1, 2018 to May 31, 2019 - corrected for hub-zone basis differential.
| Usage patterns = | forecasted energy use by class, on/off % from class load profiles
| Obligations = | class totals as of June 2017
| Losses = | existing approved loss factors
| PJM Time Periods = | PJM trading time periods - 7 AM to 11 PM weekdays, local time, x NERC holidays
- New Year's, Memorial, 4th of July, Labor Day, Thanksgiving & Christmas
Table #18 | Retail Rates Charged to BGS RSCP (Previously "FP") Customers
Includes energy, Generation Obligations, Ancillary Services, and Renewable Power Costs - Transmission billed at current Tariff Rates
in $/MWh
| Weighted Avg. Winning Bid >>>> | 77.606
| Less Transmission >>>>>>>>> | 15.2596
| BGS Avg. Price >>>>>>>>>>> | 62.3464
|  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC
| Summer - all hrs |  | 77.0777 | 66.5701 | 78.4743 | 60.3853 | 55.065 | 40.3012 | 53.4024
| On-Peak |  | 87.1197
| Off-Peak |  | 38.4391
| Block 1 (0-750 kWh/m) | 61.5893
| Block 2 (>750 kWh/m) | 70.8182
| Winter - all hrs | 68.8762 | 82.6156 | 66.666 | 71.0268 | 59.6171 | 53.7032 | 41.278 | 52.4487
| On-Peak |  | 89.1269
| Off-Peak |  | 39.904
| Annual | 67.4588 | 59.4784 | 66.773 | 73.9428 | 60.0396 | 54.366 | 41.398 | 52.8697
Table #19 | Retail Rates Charged to BGS RSCP Customers including Revenue Assessment and SUT
Includes energy, Generation Obligations, Ancillary Services, and Renewable Power Costs - Transmission billed at current Tariff Rates
in $/kWh
| Revenue Assessment Factor | 1.0029
(BPU, RPA Assessments)
|  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC
| Summer - all hrs |  |  | 0.071351 | 0.08411 | 0.064722 | 0.05902 | 0.043195 | 0.057238
| On-Peak |  | 0.093376
| Off-Peak |  | 0.0412
| Block 1 (0-750 kWh/m) | 0.066012
| Block 2 (>750 kWh/m) | 0.075904
| Winter - all hrs | 0.073823 |  | 0.071454 | 0.076128 | 0.063899 | 0.05756 | 0.044242 | 0.056215
| On-Peak |  | 0.095528
| Off-Peak |  | 0.04277
| Annual | 0.072303 | 0.06375 | 0.071568 | 0.079253 | 0.064351 | 0.05827 | 0.044371 | 0.056667

## auction results and rates
Atlantic City Electric Company
Calculation of June 2018 to May 2019 BGS-RSCP Rates
based on results of February 2017 BGS RSCP Auction
Table A | Auction Results
line # | Payment Identifier >> | remaining portion of 36 month bid - 2016/17 filing | remaining portion of 36 month bid - 2017/18 filing | 36 month bid - 2018/19 filing |  | Notes:
1 | Winning Bid - in $/MWh | 82.14 | 75.49 | 75.49 |  | winning Bids
2 | Incremental RPM Cost |  |  |  |  | The Incremental RPM Cost is not applicable for tranches from the 2016, 2017, or 2018 BGS-RSCP Auctions
3 | Total | 82.14 | 75.49 | 75.49 |  | = (1) + (2)
4 | # of Traunches for Bid | 7 | 8 | 7 |  | from then current Bid
5 | Total # of Traunches | 22 | 22 | 22 |  | from then current Bid
Payment Factors
6 | Summer | 1 | 1 | 1 |  | from then current Bid Factor Spreadsheet
7 | Winter | 1 | 1 | 1 |  | from then current Bid Factor Spreadsheet
Applicable Customer Usage @ bulk system - in MWh
8 | Summer MWh | 2380201.8703 |  |  |  | from current Bid Factor Spreadsheet
9 | Winter MWh | 3429896.4485
Total Payment to Suppliers - in $1000
10 | Summer | 62207.6578 | 65338.7052 | 57171.367 |  | = (1) * (4)/(5) * (6) * (8) + (2) * (4)/(5) * (8)
11 | Winter | 89641.9027 | 94153.7756 | 82384.5536 |  | = (1) * (4)/(5) * (7) * (9) + (2) * (4)/(5) * (9)
12 | Total | 151849.5605 | 159492.4808 | 139555.9207
Average Payment to Suppliers - in $/MWh
13 | Summer | 77.606 |  |  |  | = sum(line 10) / (8) - rounded to 2 decimal places
14 | Winter | 77.606 |  |  |  | = sum(line 11) / (9) - rounded to 2 decimal places
15 | Total weighted average | 77.606 | <<< used in calculation of |  |  | = sum(line 12) / [ (8) + (9)]
|  |  | Customer Rates |  |  | rounded to 2 decimal places
Reconciliation of amounts - in $1000
16 | Weighted avg * Total MWh = | 450898.4901 |  |  |  | = (15) * [(8)+(9)] / 1000
17 | Total Payment to Suppliers = | 450897.9619 |  |  |  | = sum (line 10)
18 | Difference = | 0.52819 |  |  |  | = line (16) - line (17)
Table B | Ratio of BGS Unit Costs @ customer to All-In Average Cost @ bulk system |  |  |  |  | from Table #14 of the bid factor spreadsheet ---
round to 3 decimal places
includes energy, G&T obligations, Ancillary Services, and Renewable Power Cost - adjusted to billing time periods
|  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC | Total
| Summer - all hrs |  | 1.3 | 0.996 | 1.203 | 0.863 | 0.76 | 0.482 | 0.723
| On-Peak |  | 1.42
| Off-Peak |  | 0.46
| All usage Multiplier | 1.024
| Constant | -3.6096 |  | for Block 1 (0-750 kWh/m) usage
| Constant | 5.0424 |  | for Block 2 (>750 kWh/m) usage
| Winter - all hrs | 1.158 | 1.479 | 1.088 | 1.21 | 0.934 | 0.817 | 0.55 | 0.782
| On-Peak |  | 1.565
| Off-Peak |  | 0.532
| Annual - all hrs | 1.102 | 0.914 | 1.052 | 1.208 | 0.906 | 0.795 | 0.528 | 0.759
Table C | Preliminary Resulting BGS Rates (in cents per kWh) - equal to bid factors times weighted average bid price
rounded to 4 decimal places
includes energy, G&T obligations, Ancillary Services, and Renewable Power Cost - adjusted to billing time periods
|  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC
| Summer - all hrs |  | 10.0888 | 7.7296 | 9.336 | 6.6974 | 5.8981 | 3.7406 | 5.6109
| On-Peak |  | 11.0201
| Off-Peak |  | 3.5699
| for Block 1 (0-750 kWh/m) usage | 7.5859
| for Block 2 (>750 kWh/m) usage | 8.4511
| Winter - all hrs | 8.9868 | 11.4779 | 8.4435 | 9.3903 | 7.2484 | 6.3404 | 4.2683 | 6.0688
| On-Peak |  | 12.1453
| Off-Peak |  | 4.1286
Table D | Revenue Recovery Calculations - Reconciliation of seasonal Customer Revenue and Supplier Payments, based on actual anticipated revenues and payments
|  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC
Total Rate Revenue - in $1000
| Summer | 126269.0692 | 87.11 | 22228.4514 | 275.7993 | 22428.4664 | 1132.8017 | 570.1268 | 178.5195 |  | 1588918.6331 | 1142.8608 | 287575.7013 | 2954.1486 | 334883.1839 | 19206.2141 | 15241.5864 | 3181.6551 | 2253103.9834
| Winter | 197698.316 | 147.4382 | 37769.2204 | 587.087 | 38013.0791 | 1950.9985 | 1344.2145 | 298.7443 |  | 2199874.438 | 1816.0416 | 447317.1121 | 6252.0579 | 524434.0695 | 30770.9054 | 31492.9714 | 4922.6248 | 3246880.2208
| Total | 323967.3852 | 234.5482 | 59997.6718 | 862.8863 | 60441.5455 | 3083.8002 | 1914.3413 | 477.2637 |  | 3788793.0711 | 2958.9023 | 734892.8134 | 9206.2066 | 859317.2534 | 49977.1195 | 46734.5578 | 8104.28 | 5499984.2042
| Total Summer | 173170.3442
| Total Winter | 277809.0979
| Grand Total | 450979.4421
Total Supplier Payment - in $1000
| Summer | 184717.73
| Winter | 266180.232
| Total | 450897.9619 |  | kWh Rate |  |  |  |  | % difference
|  |  |  | Adjustment | rounded to 5 decimal places |  |  |  | 6.251%
| Differences - in $1000 |  |  | Factors |  |  |  |  | -4.369%
| Summer | 11547.3857 |  | 1.0667 |  |  |  |  | -0.01807%
| Winter | -11628.8659 |  | 0.95814
| Total | -81.4802
Note: These differences are due to rounding and seasonal differences in Bidder Payments (which are based on prior
wining bids and Seasonal Payment Factors) and current Rates (based on current seasonal market differentials)
Table E | Final Resulting BGS Rates (in cents per kWh) - with preliminary kWh rates adjusted by the kWh Rate Adjustment Factor
rounded to 4 decimal places
includes energy, G&T obligations, Ancillary Services, and Renewable Power Cost - adjusted to billing time periods
|  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC
| Summer - all hrs |  | 10.7615 | 8.245 | 9.9585 | 7.144 | 6.2914 | 3.99 | 5.985
| On-Peak |  | 11.7549
| Off-Peak |  | 3.8079
| for Block 1 (0-750 kWh/m) usage | 8.0917
| for Block 2 (>750 kWh/m) usage | 9.0146
| Winter - all hrs | 8.6106 | 10.9974 | 8.0901 | 8.9972 | 6.945 | 6.075 | 4.0896 | 5.8148
| On-Peak |  | 11.6369
| Off-Peak |  | 3.9558
Table F | Spreadsheet Error Checking - Checking of seasonal Customer Revenue and Supplier Payments, based on final actual anticipated revenues and payments
|  | RS | RS TOU - BGS | MGS - SEC | MGS - PRI | AGS - SEC | AGS - PRI | SPL/CSL | DDC
Total Rate Revenue - in $1000
| Summer | 134688.3049 | 92.9182 | 23710.6166 | 294.1889 | 23924.0547 | 1208.3398 | 608.1393 | 190.4221
| Winter | 189422.3884 | 141.2666 | 36188.4017 | 562.5102 | 36421.9461 | 1869.3325 | 1287.9366 | 286.2408
| Total | 324110.6933 | 234.1848 | 59899.0183 | 856.699 | 60346.0008 | 3077.6723 | 1896.0759 | 476.6628
| Total Summer | 184716.9843
| Total Winter | 266180.0228
| Grand Total | 450897.0071
Total Supplier Payment - in $1000
| Summer | 184717.73
| Winter | 266180.232
| Total | 450897.9619
Differences - in $1000
| Summer | -0.74566
| Winter | -0.20916
| Total | -0.95482